## Sheet1
Eco-$mart, Inc.
4411 Bee Ridge Rd. #344
Sarasota, FL 34233
888-329-2705
Building Energy Efficiency Cost / Benefit Analysis
Commercial Daylighting Retrofit
Job Name: Golfsmith Store 061 (Hollywood, Fl)
Melded kWH Rate: |  |  | 0.12
$$ Saved In Air Conditioned = Electric Savings * 1.5 (Electricity + A/C + Maintenance Savings)
Area: Install 20 Commercial Active Daylighting Systems
Retrofit Costs and Savings:
Current | Fixt. | Total | Hrs. | Std. | Proposed | Fixt. | New | Hrs. | New | kW | kWH | Ann. $$ | Retro | Payback
kW/fixt. | Qty. | kW | Used | kWH | kW/fixt. | Qty. | kW | Used | kWH | Saved | Saved | Saved | Cost | (yrs.)
0.172 | 150 | 25.8 | 4380 | 113004 | 0.105 | 150 | 15.75 | 1460 | 22995 | 10.05 | 90009 | 16201.62 | 58000 | 3.5799
[11 empty] | Combined Cost / Payback Period: | 16201.62 | 58000 | 3.5799
Notes | The above analysis represents the costs and savings associated with installing 20 commercial daylighting units,
integrating them with the current lighting. There currently are 150 2-Lamp 8' fixtures using 172W each. These
electric fixtures retrofitted with T8 lamps and electronic ballasts, reducing the Wattage to 105W per fixture.
The lights will be turned off for an average of 8 hours per day, due to the natural light provided by the active
daylighting units. A control system will automatically turn on the electric lights as needed. The daylight provided
is much cooler in temperature than the electric light, saving money in air conditioning costs, and by using the
electric fixtures fewer hours per year, their maintenance costs are reduced, as well. Studies have shown that sales
increase under natural light, returned goods are less frequent, accidents and errors are reduced, and employee
absenteeism is reduced due to the higher quality, natural light.
Please let us know how we can be of service.
Call 888-329-2705 for more information, or visit us on the web at www.eco-smart.com